City of Lynnwood SPCC Plan

(Updated July 2022)

Spill Prevention, Control and Countermeasures Plan

This SPCC Plan is to be used for City/Capital Projects ONLY – DO NOT USE THIS SPCC PLAN FOR PRIVATE DEVELOPMENT PROJECTS

Project Name

Address

Prepared by

Name

Address

City, Washington Zip

Phone Number

Date

Table of Contents

SPCC Plan Implementation Requirements	1

SPCC Plan Elements	2

1.  Responsible Personnel	2

2.  Spill Reporting	3

3.  Project and Site Information	4

4.  Potential Spill Sources	5

5.  Pre-Existing Contamination	7

6.  Spill Prevention and Response Training	8

7.  Spill Prevention	9

8.  Spill Response	11

9.  Project Site Map	13

10.  Spill Report Form(s)	14

11.  Plan Approval	15

SPCC Plan Acknowledgement Form (to be signed by all Project personnel)	16

Appendix

APPENDIX A EXAMPLE SPILL REPORT FORM	A-17

# SPCC Plan Implementation Requirements

WSDOT Standard Specification 1-07.15(1) and Project-specific special provisions (if applicable) require a Spill Prevention, Control and Countermeasures Plan (SPCC Plan or Plan) to be developed for each project.  The purpose of an SPCC Plan is to protect human health and the environment from spills and releases of “hazardous materials,” a generic term the City of Lynnwood uses in Chapter 13.45 of its Surface Water Quality to mean any material, including any substance, waste, or combination thereof, which because of its quantity, concentration, or physical, chemical, or infectious characteristics may cause, or significantly contribute to, a substantial present or potential hazard to human health, safety, property, or the environment when improperly treated, stored, transported, disposed of, or otherwise managed .

Contractor, the Prime Contractor for Project Name, (Project), has developed this SPCC Plan to satisfy WSDOT Standard Specification 1-07.15(1), Lynnwood Municipal Code 13.45.035, and National Pollutant Discharge Elimination System (NPDES) requirements for the Project.

Contractor shall update this SPCC Plan throughout the Project so that the written Plan reflects actual site conditions and practices.  At a minimum, Contractor will update this Plan annually.  Contractor shall fully implement this SPCC Plan, as accepted and updated, at all times.

No on-site Project construction activities may commence until City of Lynnwood reviews and accepts this Project-Specific SPCC Plan.

# SPCC Plan Elements

## 1.  Responsible Personnel

Table 1 identifies the name(s), title(s), and contact information for the personnel responsible for implementing and updating the SPCC Plan, and for responding to spills.  If spill response Subcontractor(s) will be used for spill response (as described in Section 8, Spill Response, below), the Subcontractor(s) company name(s) and contact information are also included in Table 1.  Complete Table 1.

Table 1 Responsible Personnel

| Responsibility | Name and Title | Contact Information |
| --- | --- | --- |
| Implementing and Updating SPCC Plan (primary contact person) |  | Company: Office Phone: Cell Phone: |
| Implementing and Updating SPCC Plan (secondary contact person) |  | Company: Office Phone: Cell Phone: |
| On-Site Spill Responder |  | Company: Office Phone: Cell Phone: |
| On-Site Spill Responder |  | Company: Office Phone: Cell Phone: |
| Spill Response Subcontractor (see Section 8, below) (delete this line if not applicable; add lines if more than one Subcontractor will be used) |  | Company: Office Phone: Cell Phone: |

## 2.  Spill Reporting

In the event of a spill, Contractor shall notify the City of Lynnwood Surface Water Utility and the Federal, State, and Local Agencies listed in Table 2.

Table 2  Project-Specific Federal, State, and Local Agencies to be Notified in the Event of a Spill

| Type of Discharge | Who to Notify | Time to Notify |
| --- | --- | --- |
| A spill or discharge, which could constitute a threat to human health, welfare or the environment. | Ecology Regional Office: Northwest Region: 1-206-594-0000 Lynnwood Police and/or Fire: 911 | Immediately, but no later than 24-hours after obtaining the knowledge. |
| A spill or discharge of oil or hazardous substances which presents a threat to human or health, welfare, or the environment. | National Response Center: 1-800-424-8802 AND Washington Emergency Management Division: 1-800-258-5990 OR 1-800-OILS911 AND Ecology Regional Office: Northwest Region: 1-206-594-0000 AND Lynnwood Police and/or Fire: 911 | Immediately |
| A spill or discharge which might cause bacterial contamination of shellfish. | WA State Department of Health: 1-360-236-3330 AND Ecology Regional Office: Northwest Region: 1-206-594-0000 | Immediately |
| All Spills | City of Lynnwood Surface Water Hotline: 425-670-KRUD (5783) | Immediately |

## 3.  Project and Site Information

Please describe the following items:

A.	The Project work: (briefly describe the construction activities that will take place)

B.	The site location and boundaries

C.	The drainage pathways from the site: (either provide information here or complete Table 3)

D.	Nearby waterways and sensitive areas and their distances from the site: (either provide information here or complete Table 3)

Either complete Table 3, below, or provide information above for 3.C and 3.D. and delete Table 3

Table 3  Nearby Waterways1 and Sensitive Areas2

| Waterway1 or Sensitive Area2 | Distance from Project Site | Direction of Flow from Project Site | Runoff Drainage Pathway from Site |
| --- | --- | --- | --- |
| (e.g., Scriber Creek) | (e.g., 35 feet east of Project Site) | (e.g., downhill towards the northeast) | (e.g., downhill to northeast from the Project staging area to the lower reach of Scriber Creek) |
| (e.g., Golde Creek) | (e.g., 350 feet south of Project site) | (e.g., across the pavement to the east) | (e.g., across the pavement east of the roundabout, into the catch basin, and into Golde Creek) |

Notes:

1	Waterways include streams, creeks, sloughs, rivers, Puget Sound, etc.

2	Sensitive areas are areas that typically contain populations that could be particularly sensitive to a hazardous materials spill or release.  Such areas include wetlands, areas that provide habitat for threatened or endangered species, nursing homes, hospitals, child care centers, etc.  Sensitive areas also include areas where groundwater is used for drinking water, such as wellhead protection zones and sole source aquifer recharge areas.

## 4.  Potential Spill Sources

A description of each potential fuel, petroleum product and other hazardous material brought or generated on-site is set forth in Table 4.  The potential fuel, petroleum product and other hazardous materials listed in Table 4 include materials used for operating, refueling, maintaining, and cleaning equipment. Table must also include hazardous materials contained within equipment. Complete Table 4, listing information for EACH fuel, petroleum product and hazardous material. List one item per line.

Table 4  Fuel, Petroleum Product and other Hazardous Materials Brought or Generated On-Site including but not limited to materials used for equipment operation, refueling, maintenance, or cleaning (this includes, but is not limited to, all hazardous material already contained in machinery when brought on-site):

| Hazardous Material Name (list one item per line) | Intended Use of Material | Est. Max. Amount of Material On-Site at Any One Time | Material Staging, Use, and Storage Location(s), & Material Storage and Secondary Containment Practices and Structures1 | Distance of Material Staging, Use, and Storage Locations from Nearby Waterways2 and Sensitive Areas3 |
| --- | --- | --- | --- | --- |
| (e.g., gasoline, diesel, motor oil, hydraulic oil, cleaning solvent, paint) |  |  |  |  |

Notes:

1	See also Section 7.D (Spill Prevention, secondary containment and structures may be described in Table 4 or under Section 7D.

2	Waterways include streams, creeks, sloughs, rivers, Puget Sound, etc.

3	Sensitive areas are areas that typically contain populations that could be particularly sensitive to a hazardous materials spill or release.  Such areas include wetlands, areas that provide habitat for threatened or endangered species, nursing homes, hospitals, child care centers, etc.  Sensitive areas also include areas where groundwater is used for drinking water, such as wellhead protection zones and sole source aquifer recharge areas.

## 5.  Pre-Existing Contamination

*	Describe any pre-existing contamination and contaminant sources (such as buried pipes, buried tanks, buried drums or other buried containers) in the Project area; and

*	Identify equipment and work practices that will be used to prevent the release of contamination.

- if no pre-existing contamination or contaminant sources - are present, write “N/A”

Example:  Soil contaminated with petroleum products is suspected of existing near the southeast corner of the intersection of SR 99 and 208th St SW.  If soil that is suspected of being contaminated is encountered, it will be stockpiled in the vicinity of the excavation for characterization sampling and determination of disposal options.  Soil that is suspected of being contaminated will be stockpiled separately from soil showing no indication of contamination.  Soil that is suspected of being contaminated will be stockpiled on an impervious surface and will be set up to allow for ease of sampling and load-out once characterization is complete.  Stockpiles of suspected contaminated soil will be covered with plastic sheeting when not being worked; stormwater that could run into the base of such stockpiles will be diverted from the area.

## 6.  Spill Prevention and Response Training

Describe how and when all Project personnel (including refueling personnel and other subcontractors) shall be trained in spill prevention, containment, and response and the location of spill response kits.

## 7.  Spill Prevention

A.	Spill response kit contents and location(s) (see Table 7).  Appropriately stocked spill response kits shall be maintained in close proximity to hazardous materials and equipment and shall be immediately accessible to all Project personnel.  Complete Table 7.

Table 7 Spill Response Kit Contents and Locations

| Type of Spill Kit | Spill Kit Contents | Spill Kit Location(s) |
| --- | --- | --- |
| (e.g. vehicle kit, drum kit, conex kit) | (e.g., air horn to get attention of those working nearby, personal protective equipment (PPE, such as safety glasses, gloves, coveralls, boot covers), spill pads, absorbent, booms, catch basin covers, anti-static shovels, garbage bags, plastic sheeting, overpack or disposal drum, complete copy of SPCC Plan, etc.) | (e.g., adjacent to in-water work, on bridge ramp, within 1,000’ of active construction areas, next to Honey Buckets, on large equipment, outside main job trailer, in staging area conex, on mitigation site, below north end of bridge, etc.) |

B.	Security measures for potential spill sources.  Describe the security measures that will be maintained to prevent accidental spills and vandalism, e.g., the staging area will be surrounded by a secured fence, hazardous materials will be stored inside a locked storage shed, equipment will be equipped with locked fuel caps, etc. (This includes machinery left on-site during construction)

C. 	Methods used to prevent stormwater from contacting fuel, petroleum products and hazardous materials.  Describe the methods that will be used to prevent stormwater contact with hazardous materials, e.g., contaminated soil will be placed on bermed plastic and covered.

D.	Secondary containment for each potential spill source listed in Section 4, above.  Describe here or in Table 4 the practices and structures that will be used to store and contain potential fuel, petroleum product and hazardous materials as well as the practices and structures that will be used to store and contain equipment used to transfer potential fuel, petroleum product and hazardous materials.  The description must at least incorporate the following requirements:

- Secondary containment structures shall be in accordance with Section S9.D.9 (https://ecology.wa.gov/Regulations-Permits/Permits-certifications/Stormwater-general-permits/Construction-stormwater-permit) of Ecology’s Construction Stormwater General NPDES Permit, where secondary containment means placing tanks or containers within an impervious structure capable of containing 110% of the volume contained in the largest tank within the containment structure.  This NPDES Permit does not require additional secondary containment for double-walled tanks.

- Any more stringent secondary containment requirements (including for double-walled tanks) required by a 401 Permit, Special Provision or other Permit/Contract requirement for work in or over water.  Attach a copy of the 401 Permit, Special Provision or other Permit/Contract document indicating the more stringent requirement.

Any more stringent secondary containment (including double-walled tanks) required by an IFC official (local fire marshal).  Attach a copy of the IFC official documentation indicating the more stringent requirement.

- Secondary containment BMPs, as presented by Ecology (http://www.ecy.wa.gov/programs/wq/stormwater/manual.html), are required during fueling activity from fuel tanks, including double-walled tanks.

E.	Best Management Practices (BMP) Methods used to prevent discharges to ground or water during mixing and transfers of hazardous materials, petroleum product and fuel.  Describe here methods to control pollutants using BMPs in accordance with Ecology’s Construction Stormwater General NPDES Permit.  BMPs guidance is provided in Ecology’s Stormwater Management Manuals, such as Volume II – Construction Stormwater Pollution Prevention, BMP C153 (Volume II Construction Stormwater Pollution Prevention) ( and Volume IV Source Control BMPs (Stormwater Manual Volume IV Source Control BMPs).

F.	Routine equipment, storage area, and structure inspection and maintenance practices to prevent drips, leaks or failures of hoses, valves, fittings, containers, pumps, or other systems that contain or transfer hazardous materials.  Describe the equipment and structure inspection and maintenance practices.

G.	Site inspection procedures and frequency.  Describe the site inspection frequency and site inspection procedures.

## 8.  Spill Response

Table 8, below, outline the response procedures that Contractor shall follow for the scenarios described in the table below, indicating that if hazardous materials are encountered or spilled to soil or water (including stormwater, as described in Section 7C) during construction, Contractor shall do everything possible to control and contain the material until appropriate measures can be taken.  The response procedures include a description of the actions that Contractor shall take to address each task shown in the table as well as the specific on-site, spill response equipment that shall be used to perform each task.  Complete Table 8.

If Contractor will use a Subcontractor for spill response, provide contact information for the Subcontractor in Table 1 and, in the appropriate table below, identify when the Subcontractor shall be used and the actions that Contractor shall take at the site while waiting for the Subcontractor to respond.  Add Subcontractor information to Table 8 accordingly.

If Contractor encounters unanticipated pre-existing contamination within the Project area during Project work, Contractor shall immediately notify the Department of Ecology and the City of Lynnwood.

Table 8 Spill Response Procedures,

Including Actions to be Taken and Equipment to be Used

| Hazardous Material and Location | Spill Response Task |
| --- | --- |
|  | Assess the Spill | Secure the Area | Contain and Eliminate the Spill Source | Clean Up Spilled Material Decontaminate Equipment Dispose of Spilled & Contaminated Material1 |
| (e.g., identify each fuel, petroleum product and hazardous material listed in Section 4, stormwater that has come into contact with hazardous material, pre-existing contamination or contaminant sources, and unknown pre-existing contamination or contaminant sources.) | (e.g., include in this or other columns a description of the internal, emergency assistance, and agency notifications that will be made as part of the response procedures, referencing and adding to Table 2 as appropriate) | (e.g. identify which area will be secured and how the area will be secured) | (e.g. identify how the spill source will be contained and eliminated during spill response) | (e.g., Identify how the spill will be cleaned up whether in soil or water, including stormwater that has contacted petroleum product, fuel or a hazardous material). Explain how the spilled material and all cleanup supplies will be disposed of; describe documentation substantiating such disposal that will be provided to the Lynnwood Surface Water Utility and when it will be provided. |

Notes:

1 	Spilled fuel, petroleum product and hazardous materials, contaminated stormwater, contaminated soil and water, and all cleanup supplies shall be transported off site for disposal at a facility approved by the Department of Ecology.  No potentially hazardous materials, contaminated soil or water, or cleanup supplies may be discharged to any sanitary sewer without approval of the local sewer authority.  Contaminated stormwater will not be discharged to any sanitary sewer without approval of the local sewer authority.

- Petroleum products, fuel, and hazardous material spills shall be addressed and shall be prevented from reaching storm drains or other discharge points.

- It is acceptable to combine materials covered by the same response procedures, as long each material is clearly identified.

## 9.  Project Site Map

A Project site map, clearly showing each of the following required or recommended items, is attached (attach such a map):

A.	Site location and boundaries;

B.	Site access roads;

C.	Drainage pathways from the site and on site storm collection;

D.	Nearby waterways and sensitive areas (Waterways include streams, creeks, sloughs, rivers, Puget Sound, etc.  Sensitive areas are areas that typically contain populations that could be particularly sensitive to a hazardous materials spill or release.  Such areas include wetlands, areas that provide habitat for threatened or endangered species, nursing homes, hospitals, child care centers, etc.  Sensitive areas also include areas where groundwater is used for drinking water, such as wellhead protection zones and sole source aquifer recharge areas.);

E.	Hazardous materials, equipment, and decontamination areas identified in Section 4 (Potential Spill Sources), above;

F.	Pre-existing contamination or contaminant sources described in Section 5 (Pre-Existing Contamination), above;

G.	Spill prevention and response equipment described in Section 7 (Spill Prevention) and Section 8 (Spill Response), above;

H.	Recommend using Project-specific Plan Sheets or a consistent map scale with identifiable or readable map symbols for each Project SPCC Map;

I.	Locations of storage, stockpiles and existing buildings.

## 10.  Spill Report Form(s)

A copy of the spill report form that Contractors working within the City of Lynnwood shall use in the event of a release or spill is attached:

## 11.  Plan Approval

By signing below, Contractor acknowledges this SPCC Plan is supported by Contractor having the authority to commit the necessary resources, including labor, equipment, and materials, to expeditiously control and remove any harmful quantity of fuel, petroleum product or hazardous materials spilled or released to the waters or land of the State of Washington. Contractor further acknowledges this SPCC Plan meets all requirements of Lynnwood Municipal Code (LMC) 13.40 Stormwater Management and 13.45 Surface Water Quality. All personnel on project have read this SPCC Plan, understand its contents and have signed the SPCC Plan Acknowledgement Form.

_______________________	___________________________________

Date	Preparers Name

Title

Contractor

This SPCC Plan has been reviewed and approved by the City of Lynnwood Environmental and Surface Water Division.

_______________________	___________________________________

Date	Darlene Stokes

Senior Engineering Technician

Surface Water Division

City of Lynnwood

_______________________	_________________________________

Date	Derek Fada

Environmental and Surface Water Supervisor

City of Lynnwood

# SPCC Plan Acknowledgement Form (to be signed by all Project personnel)

This is to certify that I have read this Project SPCC Plan and understand its contents. I have attended a Project orientation meeting discussing the elements of this SPCC Plan and the safety and health hazards associated with SPCC operations to be performed at this Project.  Failure to comply with the requirements contained in this SPCC Plan may result in my removal from the Project.

| PRINT NAME |  | SIGNATURE |  | DATE |
| --- | --- | --- | --- | --- |

# APPENDIX A
EXAMPLE SPILL OR INCIDENT REPORT FORM

Instructions: Complete for any type of petroleum product or hazardous materials/waste spill or incident.  Provide a copy of this report to City of Lynnwood Surface Water Management.

1. Contractor:

Name and Title of Person Responsible for Spill Response:

Phone Number:

2. General Spill Information:

Common Name of Spilled Substance:

Quantity Spilled (Estimate):

Describe Concentration of Material (Estimate):

Date of Spill: _____/_____/______

Time Spill Started: _____ AM _____ PM 		Time Spill Ended: _____ AM _____ PM

3. Spill Location and Conditions:

Project Title:

Street Address and/or Milepost, City:

Weather Conditions:

If Spill to Water,

Name of Water Body (if ditch or culvert, identify the water body that the structure discharges to):

Identify the Discharge Point:

Estimate the Depth and Width of the Water Body:

Estimate Flow Rate (i.e., slow, moderate, or fast):

Describe Environmental Damage (i.e., fish kill?):

4. Actions Taken:

To Contain Spill or Impact of Incident:

To Cleanup Spill or Recover from Incident:

To Remove Cleanup Material:

To Document Disposal:

To Prevent Reoccurrence:

5. Reporting the Spill:

List all agencies contacted; include names, dates, and phone numbers for people you spoke with:

Record ERTS #, if issued by Ecology:

6. Person Responsible for Managing Termination/Closure of Incident or Spill:

Name and Phone:

Address and Fax:

7. Additional Notes/Information (if necessary):

# Text boxes

The Contractor shall prepare a project-specific spill prevention, control, and countermeasures plan (SPCC Plan) that will be used for the duration of the project. The Contractor shall submit a completed and signed SPCC plan to the City of Lynnwood Surface Water Division for review, and approval obtained prior to scheduling a preconstruction meeting. No on-site construction activities may commence until City of Lynnwood accepts a SPCC Plan for the project.

Instructions for use:

- The City of Lynnwood has put together this form for contractors to use to develop Spill Prevention, Control and Countermeasures Plans (SPCC Plans) that satisfy Lynnwood Municipal Code 13.45.035, the current WSDOT Standard Specification 1-07.15(1) and National Pollutant Discharge Elimination System (NPDES) requirements.

- Replace the blue highlighted text with project-specific information

- Yellow highlighted text describes or provides an example of what needs to be written.  Using this text as a guide, add a description tailored to the project and then delete the yellow highlighted text.

- Completing Table of contents: Verify that the associated Plan sections/page numbers are consistent and complete as these may change while form is being completed.

- Do not change to format of the Template or delete any of its content. If something does not pertain to your project, just write N/A.

Contractor SHALL MAINTAIN A COMPLETE, UPDATED COPY OF THIS PLAN IN AN ACCESSIBLE LOCATION ON THE PROJECT SITE AT ALL TIMES.

Spill Prevention, Control and Countermeasures Plan (SPCC) may be rejected without review for any of the following reasons:

- Information contained within the document is from a different project

- SPCC is not Project-Specific

- Information contained within the SPCC has been copied and pasted from a previous template

- Pages within the SPCC have been inserted from a different SPCC template

Spills to water: Immediately call the National Response Center (1-800-424-8802), Emergency Management (1-800-258-5990), and the Ecology Northwest Regional Office (1-206-594-0000).

Spills to soil that may be an immediate threat to health or the environment (i.e., explosive, flammable, toxic vapors, shallow groundwater, nearby creek, etc.): Call the Ecology Northwest Regional Office immediately (1-206-594-0000).  If not immediately threatening, but may be a threat to human health or the environment, report to Ecology within 24 hours.

Note: Project specific permits may have additional reporting requirements.